November 27, 2012

To,  
The Wardens  
Indian Institute of Science Education and Research, Mohali  
Knowledge City, Sector 81,   
Mohali, Punjab

Subject: Hostel Infrastructural Issues

Dear Sir,

This is to bring to your notice the following:

1. Hostel 7, floor 3, tiles around the water cooler are broken
2. Hostel 7, boys wing, lights in the elevator (lift) are loose and some of them are missing covers
3. Hostel 5, ground floor, water cooler’s filter had been reported to have issues
4. Hostel 7, floor 7, boys wing, in the western toilet, lights are not functional and one of the toilet’s flush leaks
5. Hostel 5, LH-5, adjacent toilet’s (urinal’s) flush doesn’t work
6. Hostel 7, floor 4, near room 401, the bathroom’s false ceiling has broken and it’s leaking

You are kindly requested to take necessary action

Sincerely,  
For the Student Community

Atul